## Slide 1
Signal Processing & Data Science
June 2017
“From Signal To Knowledge”

## Slide 3: Here Is The Problem
New ‘Non-Contact’ Sensors Can Capture ECG Signals Through Layers of Fabric or Remotely
  The sensors are not in direct contact with the subject
  The sensors may not be optimally located on the subject
  The subject may be in motion.
  Traditional signal processing approaches do not work
    Motion artifacts distort ECG signals
    Capacitively coupled signals are subject to baseline drift.
New signal processing techniques are needed!

## Slide 4: Heart Rate Variability
t
t
t
Heart Rate Variability, HRV, is the measurement of the time intervals from one R peak to the next R peak
HRV as an indicator: risk of impending cardiac event, fitness, arrhythmias, stress levels, etc.
Del Rey’s objective to provide accurate HRV measurements in challenging environments.

## Slide 5: Del Rey vs. Pan-Tompkins A Comparison
Pan-Tompkins is the industry standard for sensor-based QRS detection algorithms
  Originally formulated in the early 1970’s by Rautaharju and Simoons for exercise ECGs
  Refined and published by Pan and Tompkins in 1985
    Designed for clinical contact leads with saline paste
Pan-Tompkins is not sufficient for non-contact sensor applications

## Slide 6: Pan-Tompkins Vs. Del Rey Analytics
In these slides we show you:
  Pan-T vs. Del Rey algorithms processing data sets captured from
  Plessey non-contact sensors, and thumb-to-thumb sensors
  Non-contact exercise ECG samples
  Non-contact seat sensors in an electric car
Pan-Tompkins algorithm via Mathworks
Del Rey software is written in R

## Slide 7: Pan-Tompkins QRS Detection Fails On Clean Segment Due To Improper Handling Of High Energy Noise Bursts
Pan-Tompkins
Pan-Tompkins detector
Del Rey Detector

## Slide 8: Pan-Tompkins Triggering Errors Consistently early or late and even alternating early/late
Pan-Tompkins QRS Detect Noisy Data
Del Rey QRS Detect Noisy Data
Pan-Tompkins
Del Rey
Correct
Early Trigger
Late Trigger
Correct
Del Rey detects are more consistent in the presence of baseline noise

## Slide 9: Pan-Tompkins Shows More False Detects In 12 Seconds Of Noisy Data Than Del Rey
Del Rey QRS Detect Arrhythmia
Pan-Tompkins
Del Rey
Double
Triggering
The Pan-Tompkins predictive detector systematically over-detects in the presence of noise

## Slide 10: Del Rey Creates An Average Beat
Beat averaging is effective, even with fairly bad data
P
q
R
S
T
Clean average beat
from high noise segments even with reversed polarity

## Slide 11: Average Beat Animation

## Slide 12: Poincare Plots of HRV
Also known as Lorenz plots or Poincare maps
Help overcome limitations to statistical identification of R-R intervals by using a geometric technique
  Plotting successive R-R intervals as a means of visualization of respiratory or other effects
  Use sample density histograms of the differences between successive R-R intervals
  Help identify and remove incorrect R-R intervals
    Too short (ectopic beats)
    Too long (sinus or compensatory pauses)
    Noise triggering (false detects)

## Slide 13: Clinical Significance of Poincare Plots

## Slide 14: Del Rey Poincare Plot Demo

## Slide 15: Del Rey Difference Goes beyond Pan-Tompkins
Better able to detect QRS in noisy data with many motion artifacts
Better able to reject invalid data
More accurate QRS detection in arrhythmia
Robust estimation of the heart rate and the average beat
More accurate HRV Poincare Plots because of more consistent triggering
Flexible central data frame with segment and beat information in relational model for additional analytics
Runs in open source R, not reliant on commercial product licensing
  Deployable on small-footprint processors, such as ARM chip devices

## Slide 16: Contact Us
Jean Stanford
jstanford@delreyanalytics.com
301-814-4934 (cell)
From Signal To Knowledge